SUPER SKY PRODUCTS ENTERPRISES, LLC

10301 N. Enterprise Drive

Mequon, WI  53092

Phone:  (262) 242-2000

FAX:   (262) 242-7409

www.supersky.com

GLASS SYSTEM REPAIR/RENOVATION

“METAL FRAMED SKYLIGHT REPAIR/RENOVATION”

Guide Specification

PART 1 GENERAL

The following is a listing of all types of materials that may be used in a repair, therefore,

only those items that apply should be used in an individual specification.

  - SECTION INCLUDES

- Removal of Existing Caps, Retainers and Exterior Caulk.

- Re-caulking and Replacement of Exterior Caps, Retainers and Exterior Glazing Strips with new material.

- Drafting of production documents.

D. 	Applied finish of aluminum extrusions [and sheet].

E. 	Optional Skylight glass and glazing.

F.  	Optional Skylight related flashings.

1.02	RELATED SECTIONS

A.	Metal Fabrications:   Division 05

B.	Flashing and Sheet Metal:   Division 07

C. 	Glazing:   Division 08

D.	Sealants:    Division 07

1.03	REFERENCES

A. 	Aluminum Association Incorporated (AA):SAS-30 Specifications for Aluminum Structures.

B.	American Architectural Manufacturers Association (AAMA):

1.	501.2: Field Check of Metal Curtain Walls for Water Leakage.

2.	603.8: Performance Requirements and Test Procedures for Pigmented Organic Coatings on Extruded Aluminum.

3.	605.2: Specification for High Performance Organic Coatings on Architectural Extrusions and Panels.

4.	606.1: Voluntary Guide Specification and Inspection Methods for Integral Color Anodic Finishes for Architectural Aluminum.

5.	607.1: Voluntary Guide Specification and Inspection Methods for Clear Anodic Finishes for Architectural Aluminum.

C.	American National Standards Institute (ANSI): Z-97.1-2004-Safety Glazing Materials Used in Buildings-Safety Performance Specifications and Methods of Test.

D.	American Society for Testing and Materials (ASTM):

1.	A193: Standard Specification for Alloy-Steel and Stainless Steel Bolting Materials for High Temperature Service.

3.	B209: Specification for Aluminum and Aluminum-Alloy Sheet and Plate.

4.	B211: Specification for Aluminum-Alloy Bar, Rod and Wire.

5.	B221: Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Shapes and Tubes.

6.	B316: Specification for Aluminum and Aluminum-Alloy Rivet and Cold-Heading Wire and Rods.

7.	C719: Standard Test Method for Adhesion and Cohesion of Elastomeric Joint Sealants Under Cycle Movement.

8.	C794: Test Method for Adhesion-In-Peel of Elastomeric Joint Sealants.

9.	C1036: Specification for Flat Glass.

10.	C1048: Specification for Heat-Treated Flat Glass-Kind HS, Kind FT Coated and Uncoated Glass.

11.	D395: Test Methods for Rubber Property-Compression Set.

12.	D412: Test Methods for Rubber Properties in Tension.

13.	D1171: Test Method for Rubber Deterioration-Surface Ozone Cracking Outdoors or Chamber (Triangular Specimens).

14.	D2240: Test Method for Rubber Property-Durometer Hardness.

15.	E773: Test Method for Seal Durability of Sealed Insulating Glass Units.

16.	E774: Specification for Sealed Insulating Glass Units.

17.	E783: Method for Field Measurement of Air Leakage Through Installed Exterior Windows and Doors.

E.	Consumer Product Safety Commission (CPSC): 16CFR 1201 - Architectural Glazing Standards and Related Material.

F. 	Flat Glass Manufacturers Association (FGMA): Glazing Manual.

G.	Insulating Glass Certification Council (IGCC): Classification of Insulating Glass Units.

1.04 	SYSTEM DESCRIPTION

A.	Design Requirements:

1	Replace exterior glass retainers with 1/4-in. x 20 stainless steel screws and snap-on beauty caps.

2.	Remove and Replace Flush glazed exterior horizontal joints with field applied structural silicone.

3.	Full silicone wet seals along both sides of all new exterior glass retainers.

B.   Performance Requirements:

1.	Existing Structural Members: Of sufficient sizes to support design loads as prescribed by governing building codes. Structural integrity of existing skylight framing and support system is by others.

2.	Thermal Movement: Provide for expansion and contraction of new component materials as will be caused by an exterior surface temperature range of (+/-) 85º F, ranging from -20º F to 150º F, and an interior surface temperature range of (+/-) 40º F, ranging from 40º F to 120º F. Adjustments in the exterior and interior temperature ranges should be made, based on specific project locations and conditions. The new skylight extrusions should allow for thermal movements without buckling, sealant failure, undue material stress, and other detrimental affects.

1.05	SUBMITTALS

- Submit [____] copies of shop drawings, as needed, to fully describe the skylight repair for the Architect's approval prior to starting fabrication/installation.

B.	With regard to structural silicone joinery, submit, only if specifically requested:

1.	Certification that adhesion of sealant to samples of metal and glass is adequate when tested in accordance with ASTM C794.

2.	Certification that materials in contact with sealant are compatible with sealant after being exposed to 2,000-4,000 micro watt ultra-violet radiation for twenty-one (21) days.

3. 	Statement that stress on each detailed sealant joint will not exceed design stress of sealant when exposed to specified wind loads.

C.	Optional Submit [____] 12-in. x 12-in. samples of each type of glass.

D.	Submit [____] manufacturer's samples of each type of sealant.

E.	Submit [____] 6-in. long samples of extrusions (with appropriate finish).

F. 	Submit [____] sets of cleaning and maintenance manuals upon completion of skylight installation.

1.06	QUALITY ASSURANCE

A.	Work of this Section, including design, engineering, fabrication, finishing, preparation at the job site, installation of new caps and retainers and re-caulking [and glazing] of the skylight system shall be the responsibility of the skylight manufacturer. The manufacturer shall be regularly engaged in the repair of skylights and able to demonstrate that he has performed successfully on comparably sized projects and of comparable design complexity over at least the previous ten (10) years.

1.07	WARRANTY

A.	Submit manufacturer's warranty certifying that skylight work was repaired and installed in accordance with the Contract Documents.

B.	Certify that new skylight materials are free of defects in design, material, and leakage for a period of five (5) years from the date of repair.

C.	Optional Warrant glass against defective materials, delamination, seal failure, and defects in manufacture for a period of five (5) years form the date of repair. Glass breakage is not warranted.

D.	Warrant structural sealant for a period of five (5) years from the date of repair per sealant manufacturer's standard warranty of merchantable quality. Warranty shall certify that cured sealant:

1.	Will not become brittle or crack due to weathering or normal expansion and contraction of adjacent surfaces.

2.	Will not harden beyond a Shore A durometer of 50, nor soften below a minimum of 10 points.

3.	Will not change color significantly when used with compatible back-up materials.

4.	Will not bleed significantly.

E.  Warrant finish for a period of five (5) years from the date of repair.

F.  Warranty service becomes effective only following payment in full for the contract amount.

PART 2 PRODUCTS

2.01	MANUFACTURERS

A.	Contract documents are based on products manufactured by Super Sky Products Enterprises, LLC;  10301 N. Enterprise Drive;  Mequon, WI  53092;  Phone (800) 558-0457, (262) 242-2000;

Fax (262) 242-7409;  www.supersky.com.

B.	Other manufacturers will be considered when the following conditions have been met.

1.	Optional manufacturers must pre-qualify to bid not less than fourteen (14) days prior to the bid closing date.

2.	Complete details are submitted for review by the Architect showing compliance to the drawings and Contract Documents.

4.	Prospective manufacturers submit notarized certification that they have successfully performed in the phases of design, manufacture and installation of skylight projects comparable in nature over at least the previous ten (10) years.

2.02	MATERIALS

A.	Framework:

1.	Retainers: Extruded aluminum, alloy 6005-T5 per ASTM B221. Sizes, shapes and profiles as per Super Sky Products' standard components.

2.	Snap-on Covers: .062-in. minimum thickness extruded aluminum, alloy 6063-T5 per ASTM B221. Sizes, shapes and profiles as per Super Sky Products' standard components.

B.	Glazing Strips:

1.	Extruded EDPM rubber designed to comply with the following specifications:

a.	Hardness: ASTM D2240, Type A:  Durometer 50 (+/-5).

b.	Tensile Strength: ASTM D412.  800 psi (min.).

c.	Elongation: 300% (min.).

d.	Color: Black.

2.	Compression Set: ASTM D395 Method B, 22 hours @ 212º F: 25% (max.).

3.	Heat Aging Characteristics:

a.	70 hours @ 212º F.

b.	Hardness:  ASTM D2240, Type A:  Durometer 50 (+/-5).

c.	Tensile Change:   ASTM D412.  -10%.

d.	Elongation Change:  ASTM D412:  -20%.

4.	ASTM D1171 Weather Resistance at 1 Part Ozone per Million, 500 hours at 20% Elongation: No cracks.

C.	Fasteners:

1.	For Exterior Cap Retainers: ASTM A193 B8 300 series stainless steel screws.

D.	Optional Setting Blocks:

1.	Extruded Type II silicone rubber designed to permit adhesion and comply with the following specifications:

a.	Hardness: ASTM D2240, Type A:  Durometer 80 (+/-5).

b.	Color: Black.

E.	Optional Flashing:

1.	[5005 H34 Aluminum] [Copper] [Stainless Steel], [.040-in.][____] minimum thickness.

2.	Sheet metal flashings/closures/claddings are to be furnished shop formed to profile in min.

10-ft. lengths.  When lengths exceed 10-ft., field trimming of the flashing and field forming the ends is necessary to suit as-built conditions.  Sheet metal ends are to overlap 6-in. to 8-in. minimum, set in a full bed of sealant and riveted if required.

F.	Exposed metal finish [interior and exterior] [interior] [exterior] to comply with the following:

The following is a listing of all types of finishes that can be specified, therefore,

only those finishes that apply should be used in an individual specification.

1	High Performance Pigmented Organic Coatings: AAMA 2605-05 [2-coat] [3-coat] [4-coat] min. 70% PVDF fluropolymers [standard] [custom] [mica] [exotic] [metallic].

2. 	Pigmented Organic Coatings: AAMA 2604-05 [2-coat] min. 50% PVDF fluropolymers [standard]

[custom] [mica].

3.	Anodized Coatings:

a.	AAMA 611-98 Architectural Class I clear anodized Type AA-M10C22A41: 215-R1.

b.	AAMA 611-98 Architectural Class I electrolytically deposited color anodized Type

AA-M10C22A44: [light bronze] [medium bronze] [dark bronze] [black].

G.	Optional Glass:

1.	Standard Certification Requirements:

a.	Heat Treated Glass: ASTM C1048, with surface stress of 5,000 (+/-) 1500 psi.

b.	Laminated Glass: Two lites interleaved with polyvinyl butyral (PVB). Units must meet criteria of ANSI Z-97.1-1984 and CPSC 16 CFR 1201 for safety glazing.  Provide PVB layer of 0.030-in. for all glass units unless a coating, and/or frit is applied to the inside face of the laminate thereby necessitating a 0.060-in. PVB interlayer.

c.	Insulating Glass: CBA rated by the Insulating Glass Certification Council (IGCC) when tested in accordance with ASTM E773 and ASTM E774.  Dual edge seals with the secondary seal being silicone.  Exterior lite of [heat strengthened] [fully tempered] glass and interior lite of laminated glass.

2.	Performance Requirements:

a.	Probability of breakage not to exceed 8/1000 for vertical glass and 1/1000 for sloped glass upon first application of design wind and live load pressures. For glass selection, design wind pressure for a one minute duration. For loads of longer duration use standard engineering practices for glass selection.

b.	Probability of breakage due to anticipated thermal stress not to exceed 8/1000 for vertical glass and 1/1000 for sloped glass.

3.	Glazing Unit Composition:

a.	Sloped glass units are to be [____].

b.	Vertical glass units are to be [____].

Specifier should consult Glass and Glazing Specification, for Glass make-up,

size and composition.  Should there be no Glass and Glazing Specification,

composition of glass should go here.

H.	Sealants:

1	Structural Flush Glazed Joints: High performance silicone sealant applied in accordance with manufacturer's recommendations.

2.	Non-structural Flush Glazed Joints and Weather Seal Joints: Silicone sealants applied in accordance with manufacturer's recommendations.

3.	Structural silicone sealant performance requirements:

a.	Hardness: ASTM D2240 Type A, 30 durometer.

b.	Ultimate Tensile Strength: ASTM D412, 170 psi.

c.	Tensile at 150% Elongation: ASTM D412, 80 psi.

d.	Joint Movement Capability after 14 Day Cure: ASTM C719, (+/-) 50%.

e.	Peel Strength (aluminum, glass, concrete) after twenty-one (21) Day Cure: ASTM C794,

50 ppi.

4.	Structural silicone shall not be used to support dead weight of vertical glass or panels.

2.03	FABRICATION

A.	Fabricate new caps and retainers using extruded aluminum members.

B.	Design glass retainer fasteners to resist uplift loadings. Spacing to be determined by structural calculations, when applicable.

C.	Use snap-on beauty caps to conceal glass retainers and glass retainer fasteners.

D.	Optional Set glass with interior and exterior EDPM glazing strips.

E.	Optional Use silicone setting blocks to support glass and to provide edge clearances and glass bites as outlined below, in accordance with FGMA recommendations:

1.	Set blocks not less than 6-in. from edge of glass for support unit.

2.	Glass Bite: Not less than 1/2-in. nor more than 5/8-in. on any side of glass unit.

3.	Maintain 1/4-in. edge clearance between glass and adjacent metal framework.

4.	Use rubber spacers to maintain separation of glass and adjacent metal framework.

F.	Optional Fabricate continuous aluminum glass stops, if required, to structurally adherer glass to crossbars, if flush glazed horizontal are utilized.

PART 3  EXECUTION

3.01	EXAMINATION

A.	Upon arrival to the jobsite for installation of the specified work, the manufacturer’s erector is to examine the existing skylight(s) to determine that they are properly prepared, dimensionally accurate, and ready to receive the skylight work included herein.  The manufacturer’s erector will examine the existing skylight prior to any work being done, and document any existing broken or damaged glass lites.  Should discrepancies exist between existing conditions and bid documents, a report showing the discrepancies will be given to the General Contractor [owner].  Should replacement of [additional] broken or damaged glass lites be required, other than those stated in the bid proposal, it will be quoted separately and will be an adjustment to the existing contract. The skylight manufacturer is not responsible for existing faulty structure or substrate.

3.02	PREPARATION

A.	Optional Contact between aluminum and dissimilar metals shall receive a protective coating of asphaltic paint for the prevention of electrolytic action and corrosion.

3.03	REMOVAL AND INSTALLATION

- Remove existing caps, retainers, exterior glazing strips and sealant.

B.	Install new skylight caps, retainers, exterior glazing strips and sealant [glass and accessory items as needed] in accordance with manufacturer's instructions.

C.	Repair skylight under the direction of the skylight manufacturer's designated erector.

D.	Repair system plumb and true, in proper alignment and relation to established lines and grades as shown on approved shop drawings.

E.	Optional Remove existing crossbar caps and apply structural silicon flush joints at crossbars when possible.

F.	Use high performance silicone sealants to seal horizontal joints between glass panels and silicone sealant to wet seal joints between snap-on cap retainers and glass.

G.	Apply sealing materials in strict accordance with sealant manufacturer's instructions. Before application, remove mortar dirt, dust, moisture and other foreign matter from surfaces it will contact.  Mask adjoining surfaces to maintain a clean and neat appearance. Tool sealing compounds to fill the joint and provide a smooth finish.

H.	Remove and replace exterior caps [and old glass] in a sequential manner, so as to keep the building watertight.

I.	Furnishing and Removal of temporary protective covering and weather-proofing of the opening below the skylight(s), if required, is by the General Contractor. ANY TEMPORARY COVERINGS THAT MAY BE REQUIRED ARE NOT TO OBSTRUCT OR INTERFERE WITH THE SKYLIGHT INSTALLATION IN ANYWAY.

3.04	TOLERANCES

A.	All parts of the work, when completed, shall be within the following tolerances:

1.	Maximum offset from true alignment between two members abutting end-to-end, edge-to-edge in line or separated by less than 3-in.:1/32-in.

3.05	FIELD QUALITY CONTROL

A. 	Optional Water Leakage: Field check in accordance with AAMA 501.2 in proportionate areas. There shall be no uncontrolled water leakage as defined in AAMA 501.2. Water supply to the skylights, with adequate water pressure, is to be furnished by the General Contractor.  Tests are to be conducted upon completion of the installation with no remobilization or down time included to accommodate either water supply availability or witness personnel schedules.  Testing is to be performed by the manufacturer’s authorized personnel with a maximum of five (5) man-hours for set-up, testing and clean-up.  Independent laboratory testing and reports, if required, are to be ordered and directed by the Owner and/or General Contractor.

3.06	CLEANING

A.	Install new skylight caps and associated accessory items to avoid soiling or smudging the finish.

B.	Cleaning of the skylight frame [and glass], other than for caulking purposes, is by the General Contractor.

3.07	PROTECTION

A.	The skylight manufacturer does not provide, nor does it include any temporary protection of the skylight and its materials after the installation is complete.  Protection of the skylight from ongoing work by other trades shall be the responsibility of the General Contractor.  The manufacturer is responsible only for the damage caused by the personnel under its control and responsibility.

END OF SECTION